Communication Gap & Ageing Analytics Report
Reporting Period: [e.g., April 2025 – June 2025]				Report Date: [DD-MM-YYYY]

1. Summary Dashboard

| Metric | Count |
| --- | --- |
| Total Smart Meters Installed | XXXX |
| Total Communication Failures (Active Meters) | XXX |
| Meters Not Communicating for >7 Days | XXX |
| Meters Not Communicating for >30 Days | XXX |
| Meters Not Communicating Since Installation | XXX |
| % of Meters with >30 Days Failure | XX% |

2. Communication Failure Ageing Category Summary

| Ageing Category | Count | % of Total Failures | Comments |
| --- | --- | --- | --- |

3. Circle / Division Level Breakdown

| Circle | Division | Subdivision | Total Meters | Communication Failures | >30 Days Ageing | Never Communicated | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |

4. Sample Meter-Level Detail (Extract)

| Consumer No. | Meter No. | Circle | Last Data Received | No. of Days Silent | Comm. Mode | Signal Strength | Site Visit Done? | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

5. Root Cause Classification (Based on Sample & Field Feedback)

| Root Cause | No. of Cases | % | Action Needed |
| --- | --- | --- | --- |
| RF Coverage Issue | XX | XX% | Add relays / repeaters |
| Faulty Modem | XX | XX% | Replace modem |
| Power Off / No Supply | XX | XX% | Check energization |
| Meter Never Activated | XX | XX% | Recheck MDM config |
| SIM Issue (Cellular) | XX | XX% | Coordinate with ISP |
| Battery/Hardware Fault | XX | XX% | Raise MCO |

6. Action Tracker – For AMISP

| Circle | Category | Meter Count | Action Owner | Deadline | Status |
| --- | --- | --- | --- | --- | --- |
| JPDC | >30 Days Silent | 92 | AMISP | 30-Jul-2025 | In Progress |
| JCC | Never Communicated | 21 | AMISP | 25-Jul-2025 | Escalated |
| TONK | Faulty Modems | 43 | AMISP | 28-Jul-2025 | Pending |