Preventive Maintenance Analytics

Distribution Transformer (DT) Loading Report
Reporting Period: [Month / Date Range]     Report Date: [DD-MM-YYYY]

1. DT Loading Summary

| Category | No. of DTs | % of Total DTs | Total Connected Load (kW) | Remarks |
| --- | --- | --- | --- | --- |
| Overloaded (>100%) | [XX] | [XX.X%] | [XXXX] | High loss & risk of failure |
| Near Optimal (90-100%) | [XX] | [XX.X%] | [XXXX] | Acceptable |
| Optimal (60-90%) | [XX] | [XX.X%] | [XXXX] | Ideal operating range |
| Under Loaded (<60%) | [XX] | [XX.X%] | [XXXX] | May be right-sized/replaced |
| Total | [XXX] | 100% | [XXXXX] |  |

2. DT-Wise Loading Details

| S. No. | DT Code / Name | Location | Capacity (kVA) | Max Load (kW) | Loading % | Category | No. of Connected Consumers | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | DT-0001 | Zone A - Feeder 1 | 100 | 120 | 120% | Overloaded | 55 | Risk of tripping |
| 2 | DT-0002 | Zone B - Feeder 3 | 200 | 178 | 89% | Optimal | 85 | Within acceptable range |
| 3 | DT-0003 | Zone C - Feeder 2 | 63 | 32 | 51% | Under Loaded | 24 | Reassessment suggested |

Loading % = (Max Load in kW / DT Capacity in kVA) × 100
Assume PF ≈ 1 for simplicity or adjust with actual PF if available.

3. Observations

- [X] DTs are Overloaded, mainly in [Area/Feeder Name].

- Under-loaded DTs found in [Area Name] indicate possible over-sizing.

- Potential redistribution or augmentation required in overloaded areas.

Load Management & Preventive Maintenance Analysis Report: Top Overloaded DTs and Load Rising Trends – Preventive Action Planning

Period Covered: [MM-YYYY or Date Range]     Report Date: [DD-MM-YYYY]

1. Executive Overview

| Total DTs Monitored | Overloaded DTs (>100%) | DTs at Risk (90–100%) | Avg. Monthly Growth Rate | DTs Recommended for Preventive Maintenance |
| --- | --- | --- | --- | --- |
| [XXXX] | [XX] | [XX] | [+X.X%] | [XX] |

2. Top Overloaded DTs – Preventive Maintenance Priority List

| Rank | DT Code / Name | Location | Capacity (kVA) | Peak Load (kW) | Load % | Overload Days (Last 30) | Growth Trend | Risk Level | Maintenance Action |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | DT-0147 | Sector 5 | 100 | 142 | 142% | 21 | 📈 | High | Immediate augmentation & oil check |
| 2 | DT-0293 | Ward 3 | 63 | 80 | 127% | 18 | 📈 | High | Cooling inspection & load balancing |
| 3 | DT-0330 | Zone A | 250 | 305 | 122% | 24 | 📈 | Medium | Oil quality test & tap setting review |
| 4 | DT-0411 | Street 7 | 100 | 115 | 115% | 14 | 📈 | Medium | Cable terminal inspection |
| 5 | DT-0562 | Village X | 160 | 180 | 112% | 10 | ➡️ | Medium | Thermographic scan |

Risk Level Logic:

- High = Load >120% for more than 15 days OR load rising >4% MoM.

- Medium = Load 110–120% OR rising trend >2% MoM.

- Low = Load 100–110% OR minor rising trend.

3. Load Rising Trend – Historical Analysis (Last 6 Months)

| DT Code | Capacity (kVA) | Feb | Mar | Apr | May | Jun | Jul | Trend | MoM Avg Growth |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DT-0147 | 100 | 110 | 120 | 124 | 128 | 135 | 142 | 📈 | +5.2% |
| DT-0293 | 63 | 68 | 70 | 73 | 75 | 78 | 80 | 📈 | +3.4% |
| DT-0330 | 250 | 270 | 275 | 280 | 288 | 298 | 305 | 📈 | +2.5% |
| DT-0411 | 100 | 106 | 108 | 110 | 111 | 113 | 115 | ➡️ | +1.5% |

4. Preventive Maintenance Recommendations

Immediate Actions (within 1 month):

- Oil & Insulation Tests for DTs >120% load consistently.

- Thermal Scanning for hot spot identification.

- Load Redistribution to nearby underloaded DTs.

- Install Load Monitoring Sensors for real-time alerts.

Medium-Term Actions (1–3 months):

- Upgrade DT capacity where growth trend >4% MoM.

- Review Feeder Loading to prevent upstream overload.

- Customer Awareness Campaign in high theft/overload areas.

Long-Term Actions (3–12 months):

- Strategic Network Planning to add new DTs in high-growth zones.

- Deploy Predictive Analytics to flag high-risk DTs earlier.